GaAs sensor systems for medical applications

J. Ludwig

Fakultaet fuer Physik, Albert Ludwigs Universitaet Freiburg,

3 Hermann Herder Strasse , D-79104 Freiburg, Deutschland

e-mail: jens.ludwig@physik.uni-freiburg.de

Medical systems suitable to image x-ray patterns obtained for medical diagnosis are reviewed. Semiconductor sensors are utilized for detection of X-rays in the range from 5 to 150 keV. The applications range from mammography, dental and full body exposures. Silicon-, GaAs and CdTe sensors as the basic choices for room temperature operation are being compared.

Besides the material properties the processing techniques for different substrates are essential to deliver a reliable sensor system. Pixel, 3D and CCD systems will be compared.

Readout systems like the novel photon counting technique will be presented and compared to integrating methods.

Finally methods for comparing the different sensor systems will be shown.